## fnd_gfm-2
Line | Description | Quantity | UOM
1 | Communication switch Ethernet with display EKI 1222 | 10 | Each
2 | 12VDC 48W External power supply 8754970000 | 35 | Each
3 | Fuse NH3L 400A 1100Vdc 2003120.4 | 20 | Each
4 | 12 KG R134A REFRIGERANT GAS CYLINDER | 10 | Each
5 | Battery power reserve 12V 7.2Ah initial current 3.4A (HR1234W F2) | 200 | Each
6 | RECOM 3.5-2405SRW/R10/A ( I/P:18-36V O/P 5V -700MA ) | 50 | Each
7 | Fuse 4 A 1000 V dc 10*38 PV-4A10F | 50 | Each
8 | SET Thermal magnetic breaker 1600A ABB handle (RHE_H T7 HANDLE R.D.ADJ.ROT.HAN) long hand 1SDA062125R1 | 15 | Each
9 | Protective Cover for Smoke Detector | 40 | Each
10 | BUSSMANN Semiconducto Fuse: 32 A Amps, 600V AC, Cylindrical Body | 40 | Each
11 | SP Integrated Safety Detector Protection Relay DGPT2 292468144799 | 5 | Each
12 | MOTOR STARTER 16-20A ABB | 5 | Each
13 | Syntetic filter V type Thick model NO.JHF-FILTER 64*60*4 cm | 18 | Each
14 | Syntetic filter V type Thick model NO.JHF-FILTER 49*49*4 cm | 15 | Each
15 | BAG FILTER 95 %5 POCKET 50*50*50 cm | 15 | Each
16 | Syntetic roll filter model NO . JHF-Filter length 20 m width 2m SF roll (40m2) | 10 | Each
17 | RADIAL FAN R3G400-RJ75-01 | 10 | Each
18 | grease type: KPF2K-20 DIN 51825 18 kg | 7 | Each
19 | grease type : SKF LGEP 2 18 Kg | 7 | Each
20 | MOXA MGate MB3280 | 6 | Each
21 | MOXA MGate MB3170 | 6 | Each
22 | MOXA iologik E1260 | 3 | Each
23 | MOXA iologik E1212 | 3 | Each
24 | MOXA EDS-408A-MM-SC | 4 | Each
25 | MOXA EDS-408A-SS-SC | 4 | Each
26 | MOXA IA240-2x | 4 | Each
27 | MOXA EDS- 408A | 4 | Each
28 | MOXA EDS- 308 | 2 | Each
29 | RS485 converter to USB :256110491487 | 3 | Each
30 | DB9 converter to USB male | 2 | Each
31 | DB9 converter to USB Female | 2 | Each
32 | MOXA MINI DB9F-TO-TB Modular : 276826981284 | 5 | Each
33 | legrand timer 16A 230V AC 50HZ : 412812 | 6 | Each
34 | relay C5 A30X AC 2.4 VA : 275748566792 | 10 | Each
35 | Moxa UC-8112-ME-T ? LX | 5 | Each
36 | Cable Ties 4,8 x 290 mm black | 4000 | Each
37 | 1Cx4m2 1.5kV DC PV Cable as per EN50618 ATC/XLPO/XLPO/Rdstrips) Cable length preterminated with Staubli make Male connector and Staubli make Female Connector with Moulded inline fuse and Moulded "T" Connector. | 200 | Each
38 | 1Cx4m2 1.5kV DC PV Cable as per EN50618 ATC/XLPO/XLPO) Cable length preterminated with Staubli make Male connector and Staubli make Female Connector and Moulded "T" Connector.(Refer Drawing for more details) | 200 | Each
39 | POWER-SUPPLY-EMPARRO input 110-240 Vac 50/60Hz output 48-56VDc /10 A : 3AXD50000018009 | 10 | Each
40 | Ebmpapst 2218 F/2 Tdh40U Cooling Fan 48Vdc 2.2A 103 W 6500r/ min (fimer) : 3Axd50000025505A | 30 | Each
41 | lanner electronics Inc Model : LEC-3030T Input Rated 12-36 V 5-1.7A : lec-3030T | 3 | Each
42 | IES-3062FX-SS-SC O-Ring power 1/2 input 12-48VDC power 3 input 12-45VDC : IES-3062FX-SS-SC | 3 | Each
43 | ABB 3AXD50000033277 functional grounding unit ( control unit fan control box assembly ) | 5 | Each