| Line | Description | Quantity | UOM |
| --- | --- | --- | --- |
| 1 | Hydraulic Actuator part number 999 IP Steam Converting Valve C3 DN10''/16'' PN1500/300LB | 1 | Each |
| 2 | packing ring part number 176 IP Steam Converting Valve C3 DN10''/16'' PN1500/300LB | 8 | Each |
| 3 | perforated Cylinder part number 213 IP Steam Converting Valve C3 DN10''/16'' PN1500/300LB | 1 | Each |
| 4 | grub screw part number 219 IP Steam Converting Valve C3 DN10''/16'' PN1500/300LB | 6 | Each |
| 5 | seat part number 220 IP Steam Converting Valve C3 C3 DN10''/16'' PN1500/300LB | 1 | Each |
| 6 | Packing Ring part number 225 IP Steam Converting Valve C3 DN10''/16'' PN1500/300LB | 6 | Each |
| 7 | packing ring part number 176 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 8 | Each |
| 8 | perforated Cylinder part number 213 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 1 | Each |
| 9 | perforated Cylinder part number 214 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 1 | Each |
| 10 | perforated Cylinder part number 215 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 1 | Each |
| 11 | perforated Cylinder part number 216 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 1 | Each |
| 12 | seat part number 220 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 1 | Each |
| 13 | Packing Ring part number 225 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 10 | Each |
| 14 | insert part number 232 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 1 | Each |
| 15 | perforated throttling disk part number 253 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 1 | Each |
| 16 | straight pin part number 265 HP Steam Converting Valve C3 D12/40 PN1500/300LB | 6 | Each |
| 17 | grub screw part number 266 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 24 | Each |
| 18 | grub screw part number 267 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 2 | Each |
| 19 | grub screw part number 268 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 6 | Each |
| 20 | grub screw part number 269 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 2 | Each |
| 21 | grub screw part number 270 HP Steam Converting Valve C3 DN12''/40'' PN1500/300LB | 4 | Each |